Summary table from the ad hoc meeting on the

Assessment of Damaged Schools, Kumanovo Region

Held 03-09-01 09:00 – 10:00 at UNICEF Skopje

Chaired by Elena Misic, UNICEF, with Tom Corsellis, UNHCR

Assessment information and comments are taken from data provided by IRC and other agencies, all of which was collected through remote surveys, i.e. from interviews with displaced persons and telephone interviews with persons in inaccessible areas.  No direct assessment by technical personal has been undertaken, except where indicated.

Village

name

Munici-

| pality | Category of school |
| --- | --- |

Houses

| in village | Comments reported |
| --- | --- |

Actions

| / priority |
| --- |
| U | 0 | 1 | 2 | 3 | 4 |
|  | Umin Dol | Kumanovo |
|  | 150 | None | Assess (UNHCR?) |
| Lopate | Kumanovo |
|  | 467 | UNHCR has assessed, no damage | None |
| Lukare | Lipkovo |
| * | 27 | Severe damage to both schools, village burnt | Assess (UNHCR?) |
| Gosince | Lipkovo |
|  | * |
| 75 | Village burnt, population displaced | Assess (UNHCR?) |
| Lipkovo | Lipkovo | *P | *H |
|  | 416 | High school, glass broken. Primary school Cat. U | Assess (UNHCR?) |
| Otlja | Lipkovo |
|  | * |
| 586 | Not seen. Cat. 3? | Assess (UNHCR?) |
| Opaje | Lipkovo |
|  | 450 | EUMM reports damage, and population displaced | Assess (UNHCR?) |
| Strima | Lipkovo |
|  | 32 | Not seen (6 children only) | Low priority |
| Slupcane | Lipkovo |
|  | * |
| 596 | Cat. 2/3, ICRC reports population present, no access | High priority |
| Orizare | Lipkovo |
|  | * |
| 312 | No comments made | Assess (UNHCR?) |
| Ropaljce | Lipkovo |
|  | * |
| 150 | Not seen – EUMM? F-KFOR built latrines | Assess (UNHCR?) |
| Matejce | Lipkovo |
| * |
|  | 615 | School in bad repair. | UNICEF call |
| Vistica | Lipkovo |
| * |
|  | 140 | Not seen. F-KFOR repair of sanitation | SCF or WV will call |
| Vaksince | Lipkovo |
| * |
|  | 480 | Roof damage, windows broken, Cat. 2/3? (2 rooms for 200 7/10 year olds) | Assess (UNHCR?) |
| Alesevce | Lipkovo |
| * | 40 | Not seen. (Small building, 13 children) | Pre-fab? |
| Nikustak | Lipkovo |
|  | * |
| 385 | Cat. 3? EUMM reports population displaced | Assess (UNHCR?) |
| Runica | Lipkovo |
| * | 25 | Not seen. Population displaced | Assess (UNHCR?) |
| Izvor | Lipkovo |
|  | * |
| 20 | Not seen, no access (4 children) | Assess (UNHCR?) |

| Lojane | Lipkovo | *UP |
| --- | --- | --- |
|  | *LP |
|  | 490 |

2 schools: Upper Primary, damage unknown, Cat. U, no work 4 years, roof, no ceiling, no floors, then installed windows, floor, doors, more funds required

| Lower Primary, damage unknown | Assess (UNHCR?) |
| --- | --- |
| Rzanovice (Lopate) | Kumanovo |
| * |
| No damage. Macedonian majority, no latrines | Upgrading as confidence-building activity? |
| Jubodrag |
|  | * |
| No damage. 33 children | Upgrading as confidence-building activity? |
| Tabanovce |
|  | No damage | Upgrading as confidence-building activity? |
| Cerkeze |
|  | No damage | Upgrading as confidence-building activity? |

H	High school

P	Primary school

Categories

U	Unfinished

0	No damage

1	Up to 15% damage,

2	Up to 30% damage

3	Up to 50% damage

Greater than 50% damage

In italics are schools in predominantly Macedonian areas.  Upgrading and maintenance work in these schools might be considered as a confidence-building activity.